ENGR 4233: Biomedical instrumentation

Fall 2010

INSTRUCTOR:      Mohamed Bingabr, Ph.D.

CONTACTS:          Office: Howell 221L ; Phone: 974 5718; Email: mbingabr@uco.edu

OFFICE HOURS:  MWF 10:00 – 11:00,  R 1:00 – 3:00, and by appointment

CLASS HOURS:    MW 4:00 – 5:15

TEXTS: “Medical Instrumentation Application and Design” 4th ed. by John Webster.

PREREQUISITE: ENGR 2304

GRADES:

Homework, Quizzes, and Attendance		25%

2 Tests						30%

Final Exam					25%

Projects and Presentations			20%

A  90%	90% < B  80%	80% < C  70%	70%< D 60%	F < 60%

Note: Dates of the 2 tests and the final exam will be announced during the semester.

Course aims:

This is an introductory course in the application of medical instrumentation; to give seniors and first year graduate students in electrical engineering and biomedical engineering a theoretical understanding of the critical measures needed to evaluate biological systems. Students will be introduced to the theoretical and practical understanding of the transducers and signal processors that are used to obtain measurements of biological signals. Topics covered in the course include transducers, signal amplifiers, electrodes and electrochemistry, ultrasound systems, electrical safety, and the design of clinical electronics.

COURSE EXPECTATION & CONDUCT:

It is expected that each student will actually spend a total of 8 to 10 hours per week on the course (not including lecture times). I don’t expect you to memorize formulas but I expect you to understand them. So, you will be allowed to bring to the exam one sheet of paper that contains any relative formulas you might need, but make sure you know how to use them conceptually and not just mechanically. You are expected to use the Electronics Workbench software and Matlab to build virtual circuits to reinforce the theoretical concepts. Should you miss a quiz or test due to illness or an emergency, you will be required to give advance notice or provide a doctor's excuse in order to be allowed to make-up on the tests and quizzes you missed.

HOMEWORK:

Read an example in the textbook and its solution, then after 10 minutes try to solve the same problem without looking at the solution. You will be surprised when you fail to solve it, even though you read the solution and understood it 10 minutes ago. The reality is this: you will not truly understand the Technical concepts by just paying attention to lectures and reading the materials and examples in the book. To truly understand engineering concepts you have to solve the homework problems yourself even if you are struggling solving them. For this reason, regular homework assignments will be made. Your solutions to the homework assignments will be collected at the start of the period on the date they are due. Late homework will not be accepted for any reason, but your two lowest homework scores will be dropped.

OTHER RESOURCES:

· Electronics Workbench software and manuals on reserve in student lab.

# Syllabus

| Week | Subject | Reading |
| --- | --- | --- |
| 1 | ##### Basic Concepts of Medical Instrumentation Terminology of Medicine and Medical Devices Classification of Biomedical Instruments Design Criteria | Ch1 |
| 1,2 | ##### Basic Sensors and Principles Displacement Measurements Resistive Sensors Bridge Circuits Inductive and Capacitive Sensors Piezoelectric Sensors Temperature measurements Thermocouples and Thermistors Optical measurements and Fiber Optics Radiation Sources and Sensors | Ch2 |
| 3 and 4 | #### Amplifiers and Signal Processing Ideal Op Amps Inverting and Noninverting Amplifiers Differential Amplifiers Comparators Rectifiers Logarithmic Amplifiers Integrators and Differentiators Active Filters Frequency Response Microcomputers in Medical Instrumentation | Ch3 Notes |
| 5,6 | ##### The Origin of Biopotentials Electrical Activity of Excitable Cells Volume Conductor Fields ### Functional Organization of the Peripheral Nervous System Electroneurogram (ENG) Electromyogram (EMG) Electrocardiogram (ECG) Electroretinogram (ERG) Electroencephalogram (EEG) Magnetoencephalogram (MEG) | Ch4 Notes |
| 7,8 | Biopotential Electrodes The Electrode-Electrolyte Interface Polarization Polarizable and Nonpolarizable Electrodes Electrode-Skin interface and Motion Artifact Body-Surface Recording Electrodes ### Internal Electrodes Electrode Arrays Microelectrodes Electrodes for Electric Stimulation of Tissue | Ch5 |
| 8 | ###### Bioptential Amplifiers Transient Protection Common-Mode and other Interference-Reduction Circuits Amplifier for other Biopotential Signals | Ch6 |
| 9,10 | ##### Clinical Laboratory Instrumentation Spectrophotometry Automated Chemical Analyzers Chromatology Electrophoresis Hematology | Ch11 |
| 11, 12 | ##### Therapeutic And Prosthetic Devices Cardiac Pacemakers and Other Electric Stimulators Defibrillators and Cardioverters Mechanical Cardiovascular Orthotic and Prosthetic Devices Hemodialysis Lithotripsy Ventilators Drug Delivery Devices Therapeutic Application of the Laser | Ch13 |
| 13 | ##### Project |  |

Student Information Sheet:

http://www.busn.ucok.edu/academicaffairs/FORMS/StudentINFOSheetSyllabusSPRING04.pdf

## ADA STATEMENT

"The University of Central Oklahoma complies with Section 504 of the Rehabilitation Act of 1973 and the American with Disabilities Act of 1990.  Students with disabilities who need special accommodations should make their requests by contacting the coordinator of Disability Support Services, Kimberly Fields at 974-2549.  The office is located in the Nigh University Center, Room 415.  Students should also notify the instructor of special accommodation needs by the end of the first week of class."